## Slide 1: Midterm Presentation Pneumonia Detection from Chest X-Rays with Robustness to Deformations
Students: Or Glassman, Andy Rodan
Supervisor: Yair Moshe
Semester: Winter, 2019
Date: 08/01/2020
In Collaboration with: Zebra Medical

## Slide 2: Outline
Project Goals
Background
Prior Work
Literature Survey
DCN Review
Chosen Solution
Intermediate Results
Limitations & Conclusions
Future Work
References
Notes: לעבור על האאוטליין כך שיהיה תואם לסדר המופיע במצגות

## Slide 3: Project Goals
Develop technique for the detection of Pneumonia in chest X-ray images, which is robust to deformations caused by different body structure or different lying position

## Slide 4: Background
Pneumonia accounts for over 15% of all deaths of children under 5 years old internationally. In the United States, Pneumonia accounts for over 500,000 visits to emergency departments and over 50,000 deaths in 2015, keeping the ailment on the list of top 10 causes of death in the country
Accurately diagnosing Pneumonia requires review of a chest radiograph by highly trained specialists and confirmation through clinical history
In recent years machine learning algorithms have improved in the diagnostics of medical diseases from X-ray images. Yet there is much room for improvement

## Slide 5: Prior Work
Kaggle X-Ray images (Pneumonia)
  Roughly 6k chest X-ray images
    Some 4500 labeled with Pneumonia, 1500 labeled Normal
  Best results have 0.9 AUC
Kaggle RSNA Pneumonia Detection Challenge
  Roughly 27k chest X-ray images
    Some 10,500 labeled “No Lung opacity”, 8600 labeled “Lung opacity”, 7800 labeled “No Lung Opacity/Not Normal”
CheXpert challenge
  About 200k chest X-ray images with 14 labels
    16,600 are labeled with Pneumonia, 170,000 are labeled Normal. Other diseases also labeled
  Current best results have 0.93 AUC for all classes
Notes: RSNA – החברה הצפון האמריקאית לרדיולוגיה
CHEXPERT- הדאטה נאסף מ65,000 פציינטים
חלק מהפציינטים סווגו עבור הפרעה א' אבל לא עבור הפרעה ב' לכן הסכום בבולט השלישי לא 200,000
מציאת AUC עבור הבולט השני

## Slide 6: Literature Survey - DCN
Conventional/Regular convolution operates on a pre-defined rectangular grid from an input image or a set of input feature maps. This grid can be the size of 3×3 and 5×5, etc.
However, objects that we want to detect and classify can be deformed or occluded within the image
In DCN, the grid is deformable in the sense that each grid point is moved by a learnable offset, and the convolution operates on these moved grid points
Dai, Jifeng, et al. "Deformable convolutional networks." Proceedings of the IEEE international conference on computer vision. 2017.

## Slide 7: Deformable Convolutional Networks
Each grid point is moved by a learnable offset. And the convolution operates on these moved grid points
Similarly for the case of deformable RoI pooling

## Slide 8: DCN - Results
By using these two new modules, DCN improves the accuracy of DeepLab, Faster R-CNN, R-FCN, and FPN etc.
Won the 2nd Runner Up in COCO Detection Challenge and 3rd Runner Up in Segmentation Challenge
Notes: נדרש להרחיב על הבולט הראשון – מדובר בשיטות סגמנטציה בעזרת ראייה ממוחשבת
הרחבה על הבולט השני – להסביר במה מדובר ואת הטבלה

## Slide 9: Chosen Solution
We hope to exploit DCN advantages for improved Pneumonia detection in deformed images
Implement known architectures such as AlexNet, ResNet, DenseNet on our datasets to classify Pneumonia
Add Deformable Convolution layers to architectures
Use on datasets such as Kaggle, CheXpert and more
Notes: אולי להרחיב במעט על הרשתות הידועות ומדוע בחרנו בהן

## Slide 10: Intermediate Results
Downloaded different datasets
  Kaggle RSNA challenge, Kaggle pneumonia dataset, CheXpert dataset.
Trained known architectures on Kaggle pneumonia dataset
  Used AlexNet, ResNet, DenseNet architectures
  Used Transfer Learning of weights
Best results gave 84% success on test set (Kaggle). We used ResNet & TL, 25 epochs
Notes: לרשום 84% ממה. בנוסף לציין כמה אפוקים הורצו, על איזה דאטה, איזו רשת... בקיצור לפרט עוד על התוצאות

## Slide 11: Limitations & Conclusions
Regular CNN can achieve decent results on current dataset (84%-90%)
Labels of dataset are not inclusive and need to be taken into consideration (more than one disease, lung opacity label)
We have different datasets to work on with different sizes
Notes: בולט שלישי – לשפץ. לציין את הבעייתיות שבעבודה עם הדאטסטים השונים

## Slide 12: Future Work
Continue trying different architectures of CNN on datasets
Using all datasets for training models
Add Deformable Convolution layers to architectures that were trained
Obtain additional datasets from Zebra Medical company

## Slide 13: References
Dai, J., Qi, H., Xiong, Y., Li, Y., Zhang, G., Hu, H., & Wei, Y. (2017). Deformable convolutional networks. In Proceedings of the IEEE international conference on computer vision (pp. 764-773)
Zhu, Xizhou, et al. "Deformable convnets v2: More deformable, better results." Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition. 2019