## Slide 1: Midterm Presentation Pneumonia Detection from Chest X-Rays with Robustness to Deformations
Students: Or Glassman, Andy Rodan
Supervisor: Yair Moshe
Semester: Winter, 2019
Date: 08/01/2020
In Collaboration with Zebra Medical

## Slide 2: Outline
Project Goals
Background
Prior Work
Example - Deformations
Literature Survey
DCN Review
Chosen Solution
Intermediate Results
Limitations & Conclusions
Future Work
References
Notes: לעבור על האאוטליין כך שיהיה תואם לסדר המופיע במצגות

## Slide 3: Project Goals
Develop technique for the detection of Pneumonia in chest X-ray images, which is robust to deformations caused by different body structure or different lying position

## Slide 4: Background - Pneumonia
Accounts for over 15% of all deaths of children under 5 years old internationally
Highly trained specialists and confirmation through clinical history required
AI algorithms have improved diagnosis from X-ray images
Still much room for improvement

## Slide 5: Prior Work
Kaggle X-Ray (Pneumonia)
  Roughly 6k chest X-ray images
  4500 labeled ‘Pneumonia’
  Best results have 0.9 AUC
Notes: March 18

## Slide 6: Prior Work – cont.
Kaggle RSNA Pneumonia Detection Challenge
  Roughly 27k chest X-ray images
  Some 10,500 labeled “No Lung Opacity”, 8600 labeled “Lung Opacity”, 7800 labeled “No Lung Opacity/Not Normal”
  Best results score 0.25475
Notes: RSNA – החברה הצפון האמריקאית לרדיולוגיה
הציעו את האתגר לאחר שיצא הדאטה-סט הראשון
Closed a year ago

## Slide 7: Prior Work – cont.
CheXpert Challenge
  About 200k chest X-ray images, 14 labels
  16,600 are labeled with Pneumonia, 170,000 are labeled Normal
  Other diseases also labeled
  Current best results have 0.93 AUC for all classes
Notes: CHEXPERT- הדאטה נאסף מ65,000 פציינטים. סט משופר מהקודם, בוצעה וריפיקציה של הLABELS
בולט שלישי- מאחר שקיימת חפיפה בין לייבלים מסויימים, ומסיבות נוספות, המספרים לא מסתדרים כפי שהיינו מצפים
September 19

## Slide 8: Example - Deformations
Patient laying
Tilted camera
Added labels
Electrodes

## Slide 9: Literature Survey - DCN
Convolution operates on rectangular grid from input image or a set of input feature maps
Objects may be deformed or occluded within image
DCN - each grid point is moved by learnable offset
Dai, Jifeng, et al. "Deformable convolutional networks." Proceedings of the IEEE international conference on computer vision. 2017.

## Slide 10: Deformable Convolutional Networks
Each grid point moved by learnable offset
Similarly for deformable RoI pooling

## Slide 11: DCN - Results
Using these modules, DCN improves the accuracy of DeepLab, Faster R-CNN, R-FCN, and FPN etc.
Won the 2nd Runner Up in COCO Detection Challenge and 3rd Runner Up in Segmentation Challenge
Notes: נדרש להרחיב על הבולט הראשון – מדובר בשיטות סגמנטציה בעזרת ראייה ממוחשבת
הרחבה על הבולט השני – להסביר במה מדובר ואת הטבלה

## Slide 12: Chosen Solution
Exploit DCN advantages for improved Pneumonia detection
Integrate into known architectures such as AlexNet, ResNet, DenseNet
Use on datasets such as Kaggle, CheXpert and more
Notes: אולי להרחיב במעט על הרשתות הידועות ומדוע בחרנו בהן

## Slide 13: Chosen Solution – cont.
Notes: להסביר שעל השכבות המדוברות נרצה ליישם DCN

## Slide 14: Chosen Solution – cont.
Each weight layer is a convolution layer
Implement using DCN
Notes: ResNet basic residual layer
לדבר על טרייד-אופים: אם ממשים הרבה שכבות כ-DCN נצפה לזמן לימוד ארוך. כמו כן לדבר על המיקום שבו נרצה לממש DCN – בתחילת השכבות, בסיום, וכו' וכו'

## Slide 15: Intermediate Results
Acquired datasets - Kaggle RSNA Challenge, Kaggle Pneumonia, CheXpert
Trained known architectures on Kaggle Pneumonia dataset
  AlexNet, ResNet, DenseNet
  Used Transfer Learning for weights
84% accuracy on test set - ResNet & TL, 25 epochs
Notes: אולי לפרט את התוצאות בפורמט SPECIFICITY וכד' – בעיית המכ"מ

## Slide 16: Limitations & Conclusions
Regular CNN can achieve decent results on current data (84%-90%)
Data labeling not ideal (pictures fit more than one label, lung opacity label, etc.)
Different datasets to work on with different sizes
Notes: בולט שלישי –לציין את הבעייתיות שבעבודה עם הדאטסטים השונים. ייתכן שיידרש שיפוץ

## Slide 17: Future Work
Try different CNN architectures on dataset
Train models on all datasets
Implement DCN layers to trained architectures
Acquire additional datasets from Zebra Medical

## Slide 18: References
Dai, J., Qi, H., Xiong, Y., Li, Y., Zhang, G., Hu, H., & Wei, Y. (2017). Deformable convolutional networks. In Proceedings of the IEEE international conference on computer vision (pp. 764-773)
Zhu, Xizhou, et al. "Deformable convnets v2: More deformable, better results." Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition. 2019