## Slide 1: Midterm Presentation Pneumonia Detection from Chest X-Rays with Robustness to Deformations
Students: Or Glassman, Andy Rodan
Supervisor: Yair Moshe
Semester: Winter, 2019
Date: 08/01/2020
In Collaboration with Zebra Medical

## Slide 2: Outline
Background
Prior Work
Literature Survey & DCN Review
Chosen Solution
Intermediate Results
Limitations & Conclusions
Future Work
Notes: לעבור על האאוטליין כך שיהיה תואם לסדר המופיע במצגות

## Slide 3: Background - Pneumonia
Accounts for over 15% of all deaths of children under 5 years old internationally
Highly trained specialists and confirmation through clinical history required
AI algorithms have improved diagnosis from X-ray images
Still much room for improvement
Notes: 500,000 hospital visits and 50,000 deaths in the us 2015

## Slide 4: Project Goal
Develop technique for the detection of Pneumonia in chest X-ray images, which is robust to deformations caused by different body structure or different laying position

## Slide 5: Example - Deformations
Laying/standing patients
Different angles
Different resolution

## Slide 6: Prior Work – Datasets
Kaggle X-Ray (Pneumonia)
  Roughly 6k chest X-ray images
  4500 labeled ‘Pneumonia’
  Best results have 0.9 AUC
Notes: March 18

## Slide 7: Prior Work – Datasets
Kaggle RSNA Pneumonia Detection Challenge
  Roughly 27k chest X-ray images
  Some 10,500 labeled “No Lung Opacity”, 8600 labeled “Lung Opacity”, 7800 labeled “No Lung Opacity/Not Normal”
Notes: RSNA – החברה הצפון האמריקאית לרדיולוגיה
הציעו את האתגר לאחר שיצא הדאטה-סט הראשון
Closed a year ago
Best results score 0.25475
Average of Intersection over Union in bounding boxes

## Slide 8: Prior Work – Datasets
CheXpert Challenge
  About 200k chest X-ray images, 14 labels
  16,600 are labeled with Normal, 170,000 are labeled with various diseases
  Out of the unhealthy group, 4500 labeled Pneumonia
  Current best results have 0.93 AUC for all classes
Notes: CHEXPERT- הדאטה נאסף מ65,000 פציינטים. סט שהוא שיפור של סט קודם של 120,000 צילומים, בוצעה וריפיקציה של הLABELS
September 19

## Slide 9: Prior Work - Example
Pham, Hieu H., et al. "Interpreting chest X-rays via CNNs that exploit disease dependencies and uncertainty labels." arXiv preprint arXiv:1911.06475 (2019)
CheXpert Challenge
Presents supervised multi-label classification framework for predicting risk of 14 common thoracic diseases
State of the art CNNs exploit dependencies among abnormality labels
Label smoothing technique for better handling of uncertain samples
Achieved 0.929 AUC for all classes
Notes: דוגמה לעבודה קודמת
לציין שאין התייחסות כלשהי לדפורמציות בתמונות – הבעיה לא קיבלה טיפול
בקצרה: לימוד ראשוני על כל הPOSITIVES למציאת קשרים בין LABELים, ואז אימון על כל הDATASET תוך ניצול הקשרים שנלמדו בשלב ראשון

## Slide 10: Literature Survey - DCN
Convolution operates on rectangular grid from input image or a set of input feature maps
Objects may be deformed or occluded within image
DCN - each grid point moved by learnable offset
Dai, Jifeng, et al. "Deformable convolutional networks." Proceedings of the IEEE international conference on computer vision. 2017
Notes: להגיד "הנה הצעה להתמודדות עם דפורמציות"

## Slide 11: Deformable Convolutional Networks
Deformable convolution is operated on a grid, with each point augmented by a learnable offset
Notes: יש לציין כאן שהלימוד של הOFFSETים מתבצע במקביל ללימוד של הרשת, דרך שכבת קונוולוציה רגילה
השכבה הזאת מבצעת BACKPROP לרשת ולמעשה מתקיימת במקביל לרשת עצמה

## Slide 12: Deformable Convolutional Networks
Similarly for deformable RoI pooling
Notes: עיוות מסיכת הPOOLING בתוך ROI

## Slide 13: DCN – Complexity & Runtime
DCNs only add small overhead over model parameters and computation
Notes: לציין שמדובר בשיטות סגמנטציה שונות, ולהדגיש שהתרומה לסבוכיות לא הייתה משמעותית

## Slide 14: DCN - Results
Applying DCN on last convolutional layers of ResNet comparison
Both 3 and 6 final layers deformable convolutions are good
Finally, 3 is chosen by authors due to a good trade-off for different tasks
Notes: הפעלת DCN על מספר השכבות האחרונות, השוואת תוצאות
TO – זמן ריצה, כמות פרמטרים, לעומת דיוק בתוצאות
mAP,mIoU – שיטות ניקוד שונות עבור זיהוי REGIONS
mean Average Precision
Precision = TP/(TP+TF)
mean Intersection of Unions
IoU = Intersection/Union

## Slide 15: DCN - Results
Using these modules, DCN improves the accuracy of DeepLab, Faster R-CNN, R-FCN, and FPN etc.
Won the 2nd Runner Up in COCO Detection Challenge and 3rd runner up in Segmentation Challenge
Notes: להסביר מה זה COCO DETECTION CHALLENGE:
Common Objects in Context
זה דאטה סט שמכיל מעלה מ300,000 תמונות, מתוכן בערך 200,000 מתויגות. המטרה – זיהוי עצמים (למעלה מ100 תגיות שונות)
M: Multi-Scale Testing with Shorter Side {480, 576, 688, 864, 1200, 1400}, B: Iterative Bounding Box Average

## Slide 16: DCNv2
DCNv1 may extend well beyond the region of interest, causing features to be influenced by irrelevant image content
DCNv2 presents enhanced modeling power for learning deformable convolutions

## Slide 17: DCNv2 – cont.
  Expanded use of deformable convolution layers within the network
  Allows to control sampling over a broader range of feature levels
  Each sample not only undergoes a learned offset, but is also modulated by a learned feature amplitude
Modulated deformable conv
Notes: Make use of teacher network – provides guidance during training, specifically utilization of R-CNN

## Slide 18: DCNv2 – cont.
Spatial support of nodes in last layer conv5 stage in regular CNN, DCNv1 and DCNv2

## Slide 19: DCNv2 – cont.
New version yields significant performance gains over the original model

## Slide 20: Chosen Solution
Exploit DCN advantages for improved Pneumonia detection
Integrate DCN into known architectures such as AlexNet, ResNet, DenseNet
Use on datasets such as Kaggle, CheXpert and more
Notes: אולי להרחיב במעט על הרשתות הידועות ומדוע בחרנו בהן

## Slide 21: Chosen Solution – Example
Integrated with Deformable Convolutional layers
Integrate ResNet Arhitrcture with DCN on last layers:
Notes: להסביר שעל השכבות המדוברות נרצה ליישם DCN

## Slide 22: Chosen Solution – cont.
Each weight layer is a convolution layer
Implement using DCN
One Residual Layer
Changed to Deformable Convolutional layer
Notes: ResNet basic residual layer
לדבר על טרייד-אופים: אם ממשים הרבה שכבות כ-DCN נצפה לזמן לימוד ארוך. כמו כן לדבר על המיקום שבו נרצה לממש DCN – בתחילת השכבות, בסיום, וכו' וכו'

## Slide 23: Intermediate Results
Acquired datasets - Kaggle RSNA Challenge, Kaggle Pneumonia, CheXpert
Trained known architectures on Kaggle Pneumonia dataset
  AlexNet, ResNet, DenseNet
  Used Transfer Learning for weights
84% accuracy on test set - ResNet & TL, 25 epochs

## Slide 24: Limitations & Conclusions
Regular CNN can achieve decent results on current data (84%-90%)
Data labeling not ideal (pictures fit more than one label, lung opacity label, etc.)
Different datasets to work on with different sizes
Notes: בולט שלישי –לציין את הבעייתיות שבעבודה עם הדאטסטים השונים. ייתכן שיידרש שיפוץ

## Slide 25: Future Work
Try different CNN architectures on dataset
Train models on all datasets
Implement DCN layers to trained architectures
Explore newer DCN version (v2)
Acquire additional datasets from Zebra Medical

## Slide 26: References
Dai, J., Qi, H., Xiong, Y., Li, Y., Zhang, G., Hu, H., & Wei, Y. (2017). Deformable convolutional networks. In Proceedings of the IEEE international conference on computer vision (pp. 764-773)
Zhu, Xizhou, et al. "Deformable convnets v2: More deformable, better results." Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition. 2019
Pham, Hieu H., et al. "Interpreting chest X-rays via CNNs that exploit disease dependencies and uncertainty labels." arXiv preprint arXiv:1911.06475 (2019).‏